

 **FB NO: FB24-093 DATE: MARCH 21, 2024**

 **BUYER: Kelly Sloan, Purchasing Manager PHONE: (816) 271-4465**

**ADDENDUM #2**

FUNDING DEPARTMENT: CHIEFS RENOVATIONS

EQUIPMENT/SERVICES REQUESTED: MERCHANDISE BUILDING ELECTRICAL

**PLEASE NOTE: SEE BELOW FOR CLARIFICATIONS AND ADDITIONAL INFORMATION: PLEASE SUBMIT YOUR BID RESPONSE ACCORDINGLY.**

Please note change in the Scope of Work provided for equipment change supplied by the owner.

Section E. Electrical

       2. Not included in plans

              c.

   ~~The contractor shall supply service to a 150  KVA transfer (owner provided) servicing a 400-amp panel inside the merchandise building~~from the current concessions stand to the site boring so as not to damage asphalt and concrete.

New verbiage and equipment change:

The contractor shall supply service to a 75 KVA transformer (owner provided) servicing a 400-amp panel located immediately south of current practice fields as identified in the pre-bid.

This change is due to the panel in the concession stand's capacity to support the 150 KVA equipment.

THIS ADDENDUM IS HEREBY CONSIDERED TO BE A PART OF THE ORIGINAL BID SPECIFICATIONS AND NEEDS TO BE INITIALED AND RETURNED WITH YOUR BID.