

FORMAL BID FB24-103

FOR

training camp field electrical/vaselakos securitY lighting installation

Submission Deadline: APRIL 24, 2024

2:00 p.m. Central Time

Questions and/or requests for clarification of this FB should be submitted via email to the Purchasing Manager, Kelly Sloan at [purchase@missouriwestern.edu](mailto:purchase@missouriwestern.edu). Please reference the FB24-103 on all correspondence. Answers to the submitted questions will be e-mailed to each vendor as an addendum to this solicitation. It is the responsibility of all interested parties to read this information and return it as part of the FB confirming receipt.



**BID SPECIFICATION SHEET FOR FB24-103**

TRAINING CAMP FIELD ELECTRICAL/VASELAKOS RESIDENCE HALL SECURITY LIGHTING

**SCOPE**

A. WORK

“Work” includes all labor, materials, equipment, and services required of the CONTRACTOR, as shown, described, or inferred in the Contract Documents.  
The CONTRACTOR is only to use its forces and OWNER/CONSTRUCTION MANAGER-approved sub-trades to undertake the Work. The CONTRACTOR may not undertake further forces without the OWNER's prior written consent; such consent will be granted at the OWNER's discretion.

B. WORK, LICENCES, PERMITS AND INSPECTIONS

The CONTRACTOR agrees to do all work under the plans, specifications, and performance standards and, by good building practice, any civic, municipal, provincial, and federal laws and codes pertaining to it, and to the OWNER's satisfaction.

C. GENERAL SITE MAINTENANCE

1. The CONTRACTOR shall clean up, remove, and dispose of all debris associated with this work in the bin provided by CONTRACTOR. Maintain cleanliness of the property at all times.  
2. All work will be performed during regular working hours unless otherwise approved by OWNER/CONSTRUCTION MANAGER.  
3. This document intends that all work performed by the CONTRACTOR is to be complete and functional in all respects, meeting all applicable codes and requirements and to the final approval of Missouri Western State University

4. The CONTRACTOR is responsible for protecting the work of other trades from any damage caused by his workforce.

D. GENERAL RESPONSIBILITIES

1. The CONTRACTOR must familiarize himself with the site and identify potential problems before starting the job.  
2. The awarding of this Contract shall be based on the assurance that adequate, qualified manpower will be provided to carry out this scope of work, and work will be commenced and completed as per the Project Schedule listed within. NOTE: This schedule may be revised from time to time by the Construction Manager.  
3. The CONTRACTOR shall provide all necessary equipment and flagging personnel required for off-loading, handling, and distribution of the CONTRACTOR’s materials.  
4. The CONTRACTOR shall provide additional labor for overtime and Saturday  
Work is required occasionally to comply with the Project Schedule at no additional cost to the OWNER.  
5. The CONTRACTOR shall provide all temporary facilities for this work. Obtain permission from the CONSTRUCTION MANAGER before locating any temporary facilities on site. Erection of any sign on the site by the CONTRACTOR or its Sub-CONTRACTORs is not allowed without permission from The OWNER and CONSTRUCTION MANAGER.  
6. The CONTRACTOR shall cooperate with other trades to ensure a smooth and safe workflow. Provide a plan detailing the sequencing of work to the CONSTRUCTION MANAGER and General CONTRACTOR “Lee Grover Construction.” All work must be coordinated through the General CONTRACTOR.   
7. The CONTRACTOR shall comply with all requirements for safety procedures, reports, and meetings in by applicable regulations, bylaws, and safety programs.  
8. The CONTRACTOR agrees that the OWNER is not responsible for fire, theft, loss, or vandalism of any of the CONTRACTOR’s tools, equipment, materials, or supplies.

E. ELECTRICAL FIELD 50 AMP CIRCUITS

1. Please reference map (not to scale)
2. The CONTRACTOR shall extend (2) 50-amp circuits from the northwest corner of the Training Camp Fields to approximately the mid-point of the fields along the north fence line.
3. The distance will be approximately 100 feet. The CONTRACTOR must verify the measurement.
4. The CONTRACTOR shall install an underground conduit for the entire distance.
5. The CONTRACTOR shall place an all-weather box 24 inches to the center at the mid-point. This box shall be supported by (2) 1 5/8-inch Unistrut pre-galvanized 12 Gauge.
6. The CONTRACTOR shall ensure the wire is appropriately sized to avoid any voltage loss or create any issues related to voltage loss.
7. The CONTRACTOR shall ensure that all wire coating is correct for application.
8. The CONTRACTOR shall install two 50-amp NEMA 14-50 receptacles, which are UL-listed industrial all-weather grade. An all-weather device box and cover shall be included.

F. POLE LIGHTING

1. Please reference map (not to scale)
2. Install (3) solar pole lights as described in the documents. The OWNER provides the lights, mounting brackets, and poles.

G. AREA SECURITY LIGHTING

1. Please reference map (not to scale)
2. Install area and parking lot lighting as described in documents.
3. The OWNER provides the lights, mounting brackets, and poles.
4. The CONTRACTOR shall install all circuits in an all-weather conduit.

**NOTE**

* The CONTRACTOR shall be responsible for all wire, conduit, connectors, or any material needed to perform these duties listed.
* All installations shall meet city, state, and federal codes.
* Map will be available at mandatory pre-bid meeting.

**MANDATORY PRE-BID MEETING**

There will a **mandatory** pre-bid meeting in the parking lot directly north of the Bill Snyder Pavilion on April 17, 2024 at 10:00am. Tours of all areas and questions will be answered at this meeting.

**PROJECT TIMELINE**

Mandatory Pre-Bid April 17, 2024

Bid-Opening April 24, 2024

Project Start Date: April 25, 2024

Final Completion May 17, 2024

**BID INFORMATION**

Sealed bids must be submitted no later than April 24, 2024 2:00 p.m. Central Time to:

Missouri Western State University

Purchasing, Popplewell Hall 115

4525 Downs Drive

St. Joseph, MO 64507

**Electronic or faxed bids will not be accepted.** MWSU reserves the right to accept or reject any or all bids. Responses must be signed and sealed in mailing envelopes with the Vendor’s name and address clearly written on the outside. The Formal Bid Number **(FB24-103)** shall also be clearly marked on the outside of the envelope or package. Bids may not be accepted if the FB number is not on the outside of the envelope.

MWSU reserves the right to award to the bidder whose bid complies with all mandatory specifications and requirements and is the lowest and best bid for supplies. Bid will be awarded as a whole project.

All questions should be directed to Purchasing Manager, Kelly Sloan, (816) 271-4465, [purchase@missouriwestern.edu](mailto:purchase@missouriwestern.edu)

Include with your bid:

* Current signed and dated W-9
* Pricing sheet on page 7
* Include any addendum(s) with your initials
* Completed page 9
* Completed MOU signature pages (**the last three pages** of E-Verify)
* Bid Bond in the amount of 5% of the total amount of bid (A Performance Bond and Payment Bond will be required of the awarded vendor)

This will be a prevailing wage project. The following are required:

* Bidders must submit a notarized Affidavit of Work Authorization and completed MOU signature pages, per attached memorandum dated January 2014, with their bids.
* A Certificate of Liability Insurance will also be required with MWSU listed as an additional insured and a performance and payment bond once bid is awarded.
* Missouri Revised Statute Chapter 292.675 went into effect on August 28, 2008, all on-site employees are required to complete the ten-hour safety training program.

Notice Regarding Open Records Requests: Missouri Western State University is a public governmental body subject to Missouri’s Sunshine/Open Records law found at Mo. Rev. Stat. § 610.010 et seq. Generally, MWSU must disclose the entire contents of bids, proposals, and contracts submitted to or entered into with MWSU with regard to a particular bid/proposal/contract after an award. Limited exceptions to MWSU’s disclosure obligations do exist, and most bidders should anticipate that the entire contents of their bid/proposal/contracts could be disclosed without notice pursuant to an open records request received by MWSU.



**PRICING SHEET FOR FB24-103**

TRAINING CAMP FIELD ELECTRICAL/VASELAKOS RESIDENCE HALL SECURITY LIGHTING

Base bid: $\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Company \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Authorized Vendor Signature

Printed Name \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Phone number \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**PROJECT INFORMATION**

TO: ALL BIDDERS

FROM: MISSOURI WESTERN STATE UNIVERSITY

DATE: January 2014

RE: ADDITIONAL BID SUBMISSION REQUIREMENTS

Please review Missouri statute, 285.530 RSMo, regarding employment of unauthorized aliens. Pursuant to RSMo 285.530 (1), No business entity or employer shall knowingly employ, hire for employment, or continue to employ an unauthorized alien to perform work within the State of Missouri, and (2), the bidder must affirm its enrollment and participation in a federal work authorization program with respect to the employees proposed to work in connection with the services requested herein by:

Submitting a completed, notarized copy of AFFIDAVIT OF WORK AUTHORIZATION (attached) and,

Providing documentation affirming the bidder’s enrollment and participation in a federal work authorization program (see below) with respect to the employees proposed to work in connection with the services requested herein.

A copy of RSMo 285.530 can be viewed in its entirety at:

<https://revisor.mo.gov/main/OneSection.aspx?section=285.530>

E-Verify is an example of a federal work authorization program. Acceptable enrollment and participation documentation consists of completed copy of the E-Verify Memorandum of Understanding (MOU). For vendors that are not already enrolled and participating in a federal work authorization program, E-Verify is available at:

<https://www.e-verify.gov/>

*The successful bidder will be required to submit a notarized Affidavit of Work Authorization and the completed MOU signature pages (the last three pages) with their bid. A bid that does not include these items may be deemed non-responsive.*

**WORK AUTHORIZATION AFFIDAVIT**

**PURSUANT TO R.S.Mo. §285.530**

**(For all bids in excess of $5,000.00)**

**Effective 1/1/09**

State of Missouri )

)ss

County of Buchanan )

Comes now \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ (Name of Business Entity Authorized Representative) as \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ (Position/Title) first being duly sworn on my oath, affirm \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ (Business Entity Name) is enrolled and will continue to participate in the E-Verify federal work authorization program with respect to employees hired after enrollment in the program who are proposed to work in connection with the services related to contract(s) with the State of Missouri for the duration of the contract(s), if awarded in accordance with subsection 2 of section 285.530, RSMo. I also affirm that \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ (Business Entity Name)does not and will not knowingly employ a person who is an unauthorized alien in connection with the contracted services provided under the contract(s) for the duration of the contract(s), if awarded.

***In Affirmation thereof, the facts stated above are true and correct. (The undersigned understands that false statements made in this filing are subject to the penalties provided under section 575.040, RSMo.)***

|  |  |  |
| --- | --- | --- |
|  |  |  |
| Authorized Representative’s Signature |  | Printed Name |
|  |  |  |
|  |  |  |
| Title |  | Date |
| E-Mail Address |  | E-Verify Company ID Number |

Subscribed and sworn to before me this \_\_\_\_\_\_\_\_\_\_\_\_\_ of \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_. I am

(DAY) (MONTH, YEAR)

commissioned as a notary public within the County of \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_, State of

(NAME OF COUNTY)

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_, and my commission expires on \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_.

(NAME OF STATE) (DATE)

|  |  |  |
| --- | --- | --- |
|  |  |  |
| Signature of Notary |  | Date |